2416
OPERATION AND MAINTENANCE ─ SCHEDULING INSPECTION AND SERVICE FOR A WATER SYSTEM DEVICE   

2416.1
A device such as a water treatment device or backflow preventer shall be scheduled for inspection and service in accordance with manufacturer's instructions and as necessary to prevent device failure based on local water conditions. Records demonstrating inspection and service shall be maintained by the person in charge. Pf  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
