2911
FUNCTIONALITY ─ TOILET ROOMS, ENCLOSED  

2911.1
Toilet rooms shall not open directly into a room used for the preparation of food for service to the public and shall be provided with a tight-fitting and self-closing door in accordance with the D.C. Plumbing Code (2008) incorporating the International Plumbing Code (2006) or most recent edition, as amended by the D.C. Plumbing Code Supplement (Subtitle F of 12 DCMR). Pf  

2911.2
Except as specified in § 2911.1, toilet rooms provided by the management of a shopping mall that are located outside of food establishments and that do not open directly into a food establishment do not have to be completely enclosed, with tight-fitting and self-closing doors.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
