1301
SOURCE - SYSTEM FLUSHING AND DISINFECTION*

1301.1
A drinking water system shall be flushed and disinfected before being placed in service after construction, repair, or modification and after an emergency situation, such as a flood, that may introduce contaminants to the system.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

