1306
QUANTITY AND AVAILABILITY - PRESSURE

1306.1
Hot or cold water under pressure shall be provided to all fixtures, equipment, and nonfood equipment that are required to use hot or cold water.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

