2375
SUPPLEMENTAL GAS PROVIDED BY STANDBY PLANT

2375.1
Mixtures of natural gas and the supplemental gas as provided by the standby plant shall be of heating value and burning characteristics as near as practicable to that of the currently used natural gas.

2375.2
On each day that supplemental gas is delivered to mains for the use of customers, the daily average heating value of gas distributed shall be the weighted value for the supplemental gas and the natural gas sent out on such day.

2375.3
The supplemental gas shall be mixed with the maximum natural gas available and practicable before being delivered to the distribution system.

SOURCE: Final Rulemaking published at 35 DCR 7938, 7952 (November 4, 1988); as amended by Final Rulemaking published at 60 DCR 7 (January 4, 2013).

