6419
RECIRCULATION AND TREATMENT SYSTEM - CROSS-CONNECTION PREVENTION

6419.1
An atmospheric break or approved back flow prevention device shall be provided in each pool water supply line that is connected to a public water supply.

6419.2
Vacuum breakers shall be installed on all hose bibbs.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

