1816
UTENSILS AND TEMPERATURE AND PRESSURE MEASURING DEVICES ─ GOOD REPAIR AND CALIBRATION  

1816.1
Utensils shall be maintained in a state of repair or condition that complies with the requirements specified in Chapters 14 and 15 or shall be discarded.  

1816.2
Food temperature measuring devices shall be calibrated in accordance with manufacturer's specifications as necessary to ensure their accuracy. Pf  

1816.3
Ambient air temperature, water pressure, and water temperature measuring devices shall be maintained in good repair and be accurate within the intended range of use.


SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
