2501
DESIGN AND CONSTRUCTION ─ ENCLOSED SYSTEM, SLOPED TO DRAIN  

2501.1
A mobile water tank shall be enclosed from the filling inlet to the discharge outlet and sloped to an outlet that allows complete drainage of the tank.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
