2503
DESIGN AND CONSTRUCTION ─ "V" TYPE THREADS, USE LIMITATION   

2503.1
A fitting with "V" type threads on a water tank inlet or outlet shall be allowed only when a hose is permanently attached.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
