2915
FUNCTIONALITY ─ OUTDOOR SERVICING AREAS, OVERHEAD PROTECTION  

2915.1
Except for areas used only for the loading of water or the discharge of sewage and other liquid waste, through the use of a closed system of hoses, servicing areas shall be provided with overhead protection.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
