3803
RESIDENTIAL KITCHENS ─ HANDWASHING AND TOILET ROOM FACILITIES

3803.1
A soap dispenser and disposable towels for use in handwashing shall be provided at the kitchen sink. This sink shall not be used for handwashing after toilet use but may be used for food preparation and warewashing provided it is cleaned and sanitized prior to and between uses. 

3803.2
A toilet room shall be available for use by food employees. Toilet rooms opening to the kitchen or dining area shall have adequate ventilation. Ventilation may be provided by window(s) or by mechanical means. A soap dispenser and disposable towels shall be provided for handwashing in toilet rooms used by food employees.

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
