1401
DESIGN, CONSTRUCTION, AND INSTALLATION - APPRO VED SYSTEM AND CLEANABLE FIXTURES*

1401.1
A plumbing system shall be designed, constructed, and installed according to the Plumbing Code.

1401.2
A plumbing system shall be of sufficient size and shall be designed, constructed, installed and maintained according to the Plumbing Code to:

(a)
Carry sufficient quantities of water to required locations throughout the food processing operation;

(b)
Properly convey sewage and liquid disposable waste from the food processing operation;

(c)
Avoid constituting a source of contamination to food, potable water, food contact surfaces, equipment, utensils or food packaging materials, or creating any unsanitary condition; and

(d)
Provide sufficient floor drainage to prevent excessive pooling of water or other disposable waste in all areas where floors are subject to flooding-type cleaning or where normal operations release or discharge water or other liquid waste on the floor.

1401.3
A plumbing fixture such as a handwashing facility, toilet, or urinal shall be easily cleanable.N

1401.4
Each food processing operation shall be equipped with effective plumbing and sewage facilities and adequate accommodations.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

