1308
DISTRIBUTION, DELIVERY, AND RETENTION - ALTERNATIVE WATER SUPPLY

1308.1
Water meeting the requirements specified in sections 1300 through 1307 shall be made available for a mobile facility, for a temporary food processing operation without a permanent water supply, and for a food processing operation with a temporary interruption of its water supply through:

(a)
A supply of containers of commercially bottled drinking water;

(b)
One or more closed portable water containers;

(c)
An enclosed vehicular water tank;

(d)
An on-premises water storage tank; or

(e)
Piping, tubing, or hoses connected to an adjacent approved source.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

