2801
MECHANICAL EQUIPMENT

2801.1
Noise resulting from mechanical equipment shall not exceed the maximum noise levels contained in this section.

2801.2
Noise resulting from the use or operation of any air-conditioning, refrigerator, heat pump, fan, swimming pool equipment, or other mechanical equipment, regardless of location, shall be prohibited in excess of sixty (60) dB(A) when measured at the property line or as close to the property line as practical if there is an obstruction.


SOURCE: Section 5 of the District of Columbia Noise Control Act of 1977, D.C. Law 2-53, 24 DCR 5293, 5309 (December 30, 1977).

