6426
EQUIPMENT - ENCLOSURES, AREA OR ROOMS, VENTILATION AND ACCESS*

6426.1
Equipment enclosures or rooms shall have either forced draft or cross ventilation.

6426.2
All below grade equipment rooms shall have a stairway access with forced draft ventilation or a fully louvered door and louvered vent on at least one other side.

6426.3
Where stairway access is not necessary to carry heavy items into the below grade room or vault, a "ship's ladder" may be used if approved by the Department.

6426.4
The opening to the equipment room or area shall be a minimum of three feet by six feet (3 ft. x 6 ft.) and shall provide easy access to the equipment.

6426.5
A hose bibb with vacuum breaker shall be located in the equipment room or area.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

