1512
ACCURACY ─ PRESSURE MEASURING DEVICES, MECHANICAL WAREWASHING EQUIPMENT  

1512.1       
Pressure measuring devices that display the pressures in the water supply line for the fresh hot water sanitizing rinse shall have increments of seven (7) kilopascals (one (1) pound per square inch) or smaller and shall be accurate to plus or minus fourteen kilopascals (± 14) plus or minus two pounds (± 2) per square inch) in the in the range indicated on the manufacturer’s data plate. 

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
