1510
ACCURACY ─ TEMPERATURE MEASURING DEVICES, FOOD  

1510.1
Food temperature measuring devices that are scaled only in Celsius or dually scaled in Celsius and Fahrenheit shall be accurate to plus or minus one degree Celsius (±1o C) in the intended range of use. Pf 

1510.2
Food temperature measuring devices that are scaled only in Fahrenheit shall be accurate to plus or minus two degrees Fahrenheit (±2o F) in the intended range of use. Pf  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
