2505
DESIGN AND CONSTRUCTION ─ INLET AND OUTLET, SLOPED TO DRAIN 

2505.1
A water tank and its inlet and outlet shall be sloped to drain.  

2505.2
A water tank inlet shall be positioned so that it is protected from contaminants such as waste discharge, road dust, oil, or grease.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
