2504
DESIGN AND CONSTRUCTION ─ TANK VENT, PROTECTED  

2504.1
If provided, a water tank vent shall terminate in a downward direction and shall be covered with a sixteen (16) mesh to twenty-five and four tenths millimeters (25.4 mm.) or sixteen (16) mesh to one inch (1 in.) screen or equivalent when the vent is in a protected area or a protective filter when the vent is in an area that is not protected from windblown dirt and debris.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
