601


SOURCE ─ SYSTEM FLUSHING AND DISINFECTION*  
601.1


A drinking water system shall be flushed and disinfected before being placed in service after construction, repair, or modification and after an emergency situation, such as a flood, that may introduce contaminants to the system.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
