603
QUALITY ─ STANDARDS*  

603.1
Water from a public water system or potable water shall meet the requirements of the applicable provisions of 40 CFR Part 141 – National Primary Drinking Water Regulations, and District of Columbia drinking water quality standards.  
603.2
Potable water shall be used for drinking and sanitizing of equipment, furniture, devices, or fixtures. 

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
