818


PHYSICAL FACILITIES ─ CLEANING VENTILATION SYSTEMS, NUISANCE, AND DISCHARGE PROHIBITION  
818.1


Intake and exhaust air ducts shall be cleaned and filters changed so they are not a source of contamination by dust, dirt, and other materials.  

818.2

If vented to the outside, ventilation systems shall not create a public health hazard or nuisance, or unlawful discharge.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
