1411
LOCATION AND PLACEMENT - CONDITIONING DEVICE

1411.1
A water filter, screen, or other water-conditioning device installed on water lines shall be located to facilitate disassembly for periodic servicing and cleaning.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

