1407
DESIGN, CONSTRUCTION, AND INSTALLATION - CONDITIONING DEVICE, DESIGN

1407.1
A water filter, screen, or other water-conditioning device installed on water lines shall be located to facilitate disassembly for periodic servicing and cleaning. A water filter element shall be of the replaceable type.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

