1410
LOCATION AND PLACEMENT BACKFLOW PREVENTION DEVICE

1410.1
A backflow prevention device shall be located so that it may be serviced and maintained.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

