1406
DESIGN, CONSTRUCTION, AND INSTALLATION - BACKFLOW PREVENTION DEVICE, DESIGN STANDARD

1406.1
A backflow or backsiphonage prevention device installed on a water supply system shall meet American Society of Sanitary Engineering standards for construction, installation, maintenance, inspection, and testing for that specific application and type of device.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

