1408
NUMBERS AND CAPACITIES - BACKFLOW PREVENTION DEVICE, WHEN REQUIRED*

1408.1
A plumbing system shall be installed to preclude backflow of a solid, liquid, or gas contaminant into the water supply system at each point of use at the food processing operation, including on a hose bibb if a hose is attached or on a hose bibb if a hose is not attached and backflow prevention is required by the Plumbing Code by:

(a)
Providing an air gap as specified in section 1405; or

(b)
Installing an approved backflow prevention device as specified in section 1406.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

