1412
OPERATION AND MAINTENANCE - PROHIBITING A CROSS CONNECTION*

1412.1
A person shall not create a cross connection by connecting a pipe or conduit between the drinking water system and a nondrinking water system or a water system of unknown quality.

1412.2
The piping of a nondrinking water system shall be durably identified so that it is readily distinguishable from piping that carries drinking water.N

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

