2302

ENFORCEMENT

2302.1
Whenever the Commission finds a particular facility to be hazardous to life or property, it shall require the person, firm, or corporation operating the facility to take all measures necessary to remove the hazards.

2302.2
The Office of Engineering of the Commission shall have responsibility for the enforcement of the provisions of this chapter.

2302.3
The Office of Engineering shall investigate and report to the Commission, in writing, instances in which it appears that this chapter has not been complied with, and shall make recommendations for achieving prompt compliance.

2302.4
The plant, property, facilities, and records of gas corporations under the Commission's jurisdiction shall be made readily accessible to the Commission, its staff, or its authorized representatives in the administration and enforcement of this chapter, or in the investigation of violations or alleged violations of any of its provisions.

SOURCE: Final Rulemaking published at 33 DCR 6625 (October 24, 1986); as amended by Final Rulemaking published at 60 DCR 7 (January 4, 2013).

