2704
ROOF-MOUNTED ANTENNAS

2704.1
All roof-mounted antennas, except those regulated by § 2706 or exempted by § 2707, shall comply with the following conditions:

(a)
Each part of an antenna shall be removed from each edge of the roof a minimum distance equal to its total mounted height above the roof;

(b)
An antenna may not exceed a total mounted height of twelve feet (12 ft.) above the roof;

(c)
Each antenna installation shall be located or screened such that its visibility from public spaces, navigable waterways, historic landmarks, and national monuments is minimized to the greatest practical extent;

(d)
An antenna shall be constructed of materials and colors that blend with the surroundings to the greatest practical extent;

(e)
Antennas mounted on roofs with outdoor recreation space shall be secured from unauthorized access for a minimum distance of ten feet (10 ft.), by a fence or screen at least five feet (5 ft.) in height; and

(f)
Any related equipment cabinet or shelter that is not internal to the building or penthouse shall be:

(1)
Constructed of materials and colors that blend with the building or penthouses; and

(2)
Located to reduce its visibility from public space to the greatest practical extent.

2704.2
A proposed roof-mounted antenna that does not comply with the above requirements may be permitted through the special exception process set forth in § 2712.


SOURCE: Final Rulemaking published at 55 DCR 34 (January 4, 2008).

