6430
PLUMBING SYSTEM - EQUIPMENT, DESIGN, CONSTRUCTION, AND INSTALLATION AND CLEANABLE FIXTURES*

6430.1
A plumbing system and hoses conveying water shall be designed, constructed, installed and repaired with approved materials according to the ICC International Plumbing Code/2000 as amended by the D.C. Plumbing Code Supplement/ 2003 (Title 12F of the District of Columbia Municipal Regulations), and subsequent amendments, hereinafter referred to as the "Plumbing Code".

6430.2
A plumbing fixture such as a handwashing facility, toilet, or urinal shall be easily cleanable. N

SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

