District of Columbia Municipal Regulations


501
EQUIPMENT ROOMS ─ FLOOR COVERING*
501.1
The equipment room floor shall be of concrete or other nonabsorbent material having a smooth slip resistant finish and shall have positive drainage, including a sump pump if necessary.

501.2
Ancillary equipment, such as a heater, shall be stored in an equipment room as specified in Subsection 500.1.

SOURCE: Final Rulemaking published at 64 DCR 5359 (June 9, 2017).
	
	Aquatic Facilities Regulations: 
Swimming Pools, Spa Pools, And Saunas
25-C DCMR § 501

	

	
	
	



