District of Columbia Municipal Regulations


1801

APPLICABILITY

1801.1
A person engaged in the construction, maintenance, and abandonment of a well in the District shall comply with the requirements set forth in this chapter.

1801.2
A person shall not construct, maintain, or abandon a well in a manner that may create a point source or non-point source of pollutants to waters of the District,  impair the beneficial uses of waters of the District, or pose a hazard to public health and safety or the environment. 

1801.3
A well owner shall ensure that, as applicable:

(a)
The construction of the well is conducted in accordance with §§ 1809 through 1826;

(b)
The use and maintenance is conducted in accordance with §§ 1827 through 1829; and

(c)
The abandonment of the well is conducted in accordance with §§ 1830 and 1831.

1801.4
If a well was constructed prior to March 31, 2017, the well owner shall ensure that:

(a)
The well does not pose a hazard to public health and safety or the environment and does not impair the beneficial uses of waters of the District;

(b)
The well, well cap, upper terminus, and well labeling meet the requirements in §§ 1820 and 1821; and

(c)
By March 31, 2021, the well is registered with the Department in accordance with the requirements of § 1806; or

(d)
By March 31, 2021, the well is abandoned in accordance with the requirements of §§ 1830 and 1831.

SOURCE: Final Rulemaking published at 63 DCR 13424 (October 28, 2016). 
	
	Water and Sanitation
21 DCMR § 1801

	

	
	
	



