2509
NUMBERS AND CAPACITIES ─ MOBILE FOOD ESTABLISHMENT TANK INLET

2509.1
A mobile food establishment's water tank inlet shall be nineteen and one tenth millimeters (19.1 mm) or three fourths inch (3/4 in.) in inner diameter or less and provided with a hose connection of a size or type that will prevent its use for any other service.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
