2510
OPERATION AND MAINTENANCE ─ SYSTEM FLUSHING AND DISINFECTION  

2510.1
A water tank, pump, and hoses shall be flushed and sanitized before being placed in service after construction, repair, modification, and periods of nonuse. P  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
