2506
DESIGN AND CONSTRUCTION ─ DRINKING WATER HOSE, CONSTRUCTION AND IDENTIFICATION

2506.1
A hose used for conveying drinking water from a water tank, shall be safe, durable, corrosion-resistant, nonabsorbent, and shall be: 

(a)
Resistant to pitting, chipping, crazing, scratching, scoring, distortion, and 
decomposition;

(b)
Finished with a smooth interior surface; and

(c)
Clearly and durably identified as to its use if not permanently attached.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
