3003
HANDWASHING FACILITIES ─ HANDWASHING AIDS AND DEVICES, USE RESTRICTIONS 

3003.1
A sink used for food preparation or utensil washing, or a service sink or curbed cleaning facility used for the disposal of mop water or similar wastes, shall not be provided with the handwashing aids and devices required for a handwashing sink as specified in §§ 3001, 3002, and 2706.3.

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
