606
QUALITY AND AVAILABILITY ─ PRESSURE
606.1
Hot and/or cold water under pressure shall be provided to all fixtures and equipment that are required to use hot and/or cold water, except that water supplied as specified in section 608.1 in response to a temporary interruption of a water supply that is not required to be under pressure.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
