605
QUALITY AND AVAILABILITY ─ CAPACITY*
605.1
The water source and system shall be of sufficient capacity to meet the water demands of the massage establishment or health spa facility.
605.2
Hot water generation and distribution systems shall be sufficient to meet the peak hot water demands throughout the massage establishment or health spa facility.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
