1500
RETENTION, DRAINAGE, AND DELIVERY - DRAINAGE SYSTEM

1500.1
Food operation drainage systems, including grease traps, that convey sewage shall be designed, constructed and installed in accordance with the Plumbing Code.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

