1502
RETENTION, DRAINAGE, AND DELIVERY - GREASE TRAP

1502.1
A grease trap shall be easily accessible for cleaning.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

