1503
RETENTION, DRAINAGE, AND DELIVE-RYCONVEYING SEWAGE*

1503.1
Sewage shall be conveyed to the point of disposal through an approved sanitary sewage system or other system, including use of sewage transport vehicles, waste retention tanks, pumps, pipes, hoses, and connections that are constructed, maintained, and operated in accordance with the Plumbing Code.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

