1415
OPERATION AND MAINTENANCE - SYSTEM MAINTAINED IN GOOD REPAIR*

1415.1
A plumbing system shall be:

(a)
Repaired according to the Plumbing Code; and

(b)
Maintained in good repair.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

