1505
RETENTION, DRAINAGE, AND DELIVERY FLUSHING A WASTE RETENTION TANK

1505.1
A tank for liquid waste retention shall be thoroughly flushed and drained in a sanitary manner during the servicing operation.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

