508
OPERATION AND MAINTENANCE ─ SYSTEM MAINTAINED IN GOOD REPAIR*  

508.1
Each tanning facility’s plumbing system shall be:

(a)
Repaired according to the International Plumbing Code (2006 edition), 
Subtitle F (Plumbing Code Supplement) of Title 12 of the District of 
Columbia Municipal Regulations; and      

(b)
Maintained in good repair. 

SOURCE: Final Rulemaking published at 60 DCR 3582 (March 15, 2013).
