6435
DRESSING AND SANITARY FACILITIES - SUPPLIES, RECEPTACLE, AND AVAILABILITY

6435.1
Toilet paper holders with a supply of toilet paper shall be provided at each toilet.

6435.2
Sanitary facilities shall be maintained in a clean and sanitary condition and sanitary supplies such as toilet paper, paper towels or blow dryer, soap and trash receptacle shall be provided.

6435.3
Dispensing units supplied with feminine hygiene products shall be installed in toilet or shower areas designated for female bathers.

6435.4
Each handwashing sink and shower shall be conveniently equipped with soap dispensers with either liquid or powdered soap. The dispensing unit shall be made of metal or plastic with no glass.

6435.5
An unbreakable mirror shall be provided over each handwashing sink.

6435.6
A covered receptacle for feminine hygiene products shall be provided at each toilet designated for female bathers.

6435.7
At least one (1) trash receptacle shall be provided in toilet areas.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

