6707
RECIPROCITY

6707.1
Any person who possesses a specific license or equivalent licensing document issued by the NRC, or any agreement state, may conduct the activities authorized in the licensing document within the District for a period not in excess of twenty (20) days in any period of twelve (12) consecutive months without obtaining a specific license from the Director; Provided that the provisions of §§6707.2 through 6707.7 shall be met.

6707.2
The licensing document shall not limit the activity authorized by the document to specified installations or locations.

6707.3
The out-of-state licensee shall notify the Director in writing at least two (2) days prior to engaging in the activity.

6707.4
The notification required by §6707.3 shall indicate the location, period, and type of proposed possession and use within the District, and shall be accompanied by a copy of the pertinent licensing document.

6707.5
If, for a specific case, the two (2) day notification period would impose an undue hardship on the out-of-state licensee, the licensee may, upon making application to the Director, obtain permission to proceed sooner.

6707.6
The out-of-state licensee shall comply with all applicable radiation provisions of this title, and with all the terms and conditions of the licensee's licensing document. The licensee need not comply with any terms and conditions that may be inconsistent with the radiation provisions of this title.

6707.7
The out-of-state licensee shall supply any information the Director may request in addition to the information required by §§6707.2 through 6707.6.

6707.8
To the extent authorized by §§6800, 6801 through 6807, 6810, and 6811, a person may transfer, receive, acquire, own, possess, and use any equipment, device, commodity, or other product containing radioactive material that has been manufactured, processed, or produced in accordance with a specific license or equivalent licensing document issued by the NRC or any agreement state.

6707.9
Notwithstanding the provisions of §§6707.1 through 6707.7, any person who holds a specific license or equivalent licensing document issued by the NRC or an agreement state authorizing the holder to manufacture, install or service a device described in §§6803.1 through 6803.5 within areas subject to the jurisdiction of the licensing body shall be granted a general license to install and service the device in the District; Provided, that the following requirements are met:

(a)
The person shall file a report with the Director within thirty (30) days after the end of each calendar quarter in which any device is transferred to or installed in the District. Each report shall identify each general licensee by name and address, the type of device transferred, and the quantity and type of radioactive material contained in the device;

(b)
The device shall be manufactured, labeled, installed, and serviced in accordance with applicable provisions of the specific license or equivalent licensing document issued to the person by the NRC or an agreement state;

(c)
The person shall assure that any labels required to be affixed to the device under regulations of the authority which licensed the manufacture of the device bear a statement that, "REMOVAL OF THIS LABEL IS PROHIBITED"; and

(d)
The holder of the specific license or equivalent licensing document shall furnish to each general licensee to whom the holder transfers the device, or on whose premises the holder installs the device, a copy of the general license contained in §6803.

6707.10
The Director may withdraw, limit, or qualify his or her acceptance of any specific license or equivalent licensing issued by another agency, or any product distributed pursuant to the licensing document, upon determining that the action is necessary in order to prevent undue hazard to public health and safety or property.


SOURCE: Regulation No. 70-33 (July 10, 1970), 17 DCR 39 (July 27, 1970); 6A DCRR §8-2:1034; as amended by Final Rulemaking published at 53 DCR 3721 (May 5, 2006).

